## Sheet1
Sl. No. | Name | Type | Price | Power* | Applications | Operating Temperature | Response Time | Detection Range | Dimension | Gas Range | Spl. Comments | Shelf Life | Links
1 | E-Nose | 1 PID | 430 USD | 600mW | Space | Room Temp | <1s | 0.5-1000 ppm |  | 900 |  | Sensor Life >5 years Lamp Life 10,000 hours
2 | KAMINA | 38 MOS | <50 USD (Mass Production) | <1W | Indoor | 250-300 C | 10s-1min | <1-100 ppm | Match Box size chip
3 | Pen3 | 10 MOS | 26K USD | 30W | Envi., Quality | 350-500 C | <1s | 0.1-5ppm | 255 x 190 x 92 mm, 2.1 kg | 10 |  | <5yrs | https://airsense.com/sites/default/files/flyer_pen.pdf
4 | Applied Sensor-Air Quality Modules |  | 229 USD | 150mW | Indoor Air Quality | 0 to 50°C |  | 450-2000 ppm CO2 equivalents | 15.24 x 17.78 x 4.3 mm; 1g | Total Mixed VOC* ; 8 types |  |  | http://web.rfoe.net:8000/SENSORS/ZLXIAZAI/APPLIEDSENSOR/APS_iAQ2000_0310.pdf & https://www.co2meter.com/products/iaq-2000-indoor-air-quality-sensor
5 | Aryballe-NeOse Advance | Optical biosensors |  | 4W | Odour | 5 - 30 C | <1s | 0.1 – 1,000 ppm | 215 mm x 130 mm x 50 mm; 400g |  | Warmup time - 30 min; Altitude 0 - 2,000 meters; Measurement Time - 20s & Time space - 5min | 10,000 measurements | https://aryballe.com/wp-content/uploads/2021/07/NeOse_Advance_DS_072121.pdf
6 | RUBIX-WT1 MK3 | [11 empty] | https://www.aquagas.com.au/wp-content/uploads/2022/06/Ellona-WT1_Brochure-01-2022.pdf & https://www.lkb.pl/files/pdf/aparatura/monitorowanie_powietrza/rubix_wt1_en.pdf
7 | SamDetect | 5 MOS 6? |  | 8W | [8 empty] | https://www.sciencedirect.com/science/article/abs/pii/S0925400506001626 & https://www.yumpu.com/la/document/read/14723760/samdetect-rst-rostock-system-technik
8 | Cyranose | 32 CP | $9000-11500 | ~5.2W | industrial/medical/indoor | 0-40 | 10s | ppb-ppm | Chip - Match Box; E-Nose - handheld radio size; 0.7kg |  |  |  | https://cyranosciences.com/products/cyranose.html
9 | JPL | 32 CP |  | 20W | Space | Room Temp |  | similar ppm-ppb | 3.6l, 3.4Kg | 21
10 | Early fire detection system | 4 SAW
11 | VaporLab | 4 SAW |  |  |  |  | inorder of 100s | upto 5ppb | Rack Mounted |  |  |  | https://www.slideserve.com/joy/vaporlab-700-gas-analyzer-powerpoint-ppt-presentation